{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":10,"n_cols":10,"rows_kept":10,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ALB-LBS"]
[]
[]
[]
[]
["","","","","ALB02LBSNADBT01","ALB03LBSNADBT01","ALB04LBSNADBT01","ALB05LBSNADBT01","ALB06LBSNADBT01","ALB07LBSNADBT01"]
["Dimensions","Unit","Width","mm","920","1100","1600","1600","2000","2000"]
["Return fan","Return fan-=-Power","Power","","0.06","0.15","0.25","0.32","2x0.26","2x0.37"]
["","Return fan-=-Frequency","Frequency","","50/60","50/60","50/60","50/60","50/60","50/60"]
["","Voltage","","","200-277","200-277","200-277","200-277","200-277","200-277"]