{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":50,"n_cols":33,"rows_kept":50,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EWFD-TZSSD"]
[]
[]
[]
[]
["","","","","","","EWFD285TZSSD1","EWFD325TZSSD1","EWFD380TZSSD1","EWFD430TZSSD1","EWFD495TZSSD1","EWFD520TZSSD2","EWFD535TZSSD1","EWFD555TZSSD2","EWFD585TZSSD2","EWFD595TZSSD1","EWFD645TZSSD2","EWFD650TZSSD1","EWFD705TZSSD2","EWFD760TZSSD2","EWFD835TZSSD2","EWFD960TZSSD2","EWFDC10TZSSD2","EWFDH10TZSSD2","EWFDH11TZSSD2","EWFDH12TZSSD2","EWFDH13TZSSD2","EWFDH14TZSSD2","EWFDH15TZSSD2","EWFDH16TZSSD2","EWFDH17TZSSD2","EWFDH18TZSSD2","EWFDH19TZSSD2"]
["Cooling capacity","Nom.","","","","kW","381.97","442.23","497.81","565.01","668.17","698.07","726.03","747.71","789.25","796.85","876.4","872.4","963.02","1006.2","1119.65","1280.78","1356.03","1402.23","1554.91","1712.64","1848.96","1998.9","2056.97","2175.38","2344.7","2450.52","2554.25"]
["Capacity control","Method","","","","","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless","Stepless"]
["","Minimum capacity","","","","%","21.5","19","16.5","21.5","23","10.5","21.5","10","10","19","10","16.5","10","12.5","10.5","11.5","10.5","10.5","10","10","10","10","13.5","12.5","11.5","10.5","10"]
["Power input","Cooling","","","Nom.","kW","98.8","115.8","134.62","155.95","185.86","189.74","198.37","207.99","229.03","231.24","241.3","270.76","288.85","264.09","311.45","365.73","406.73","429.08","473.05","506.7","560.97","622.32","572.17","673.28","732.03","827.88","956.29"]
["EER","","","","","","3.87","3.82","3.7","3.62","3.6","3.68","3.66","3.6","3.45","3.45","3.63","3.22","3.33","3.81","3.6","3.5","3.33","3.27","3.29","3.38","3.3","3.21","3.6","3.23","3.2","2.96","2.67"]
["IPLV","","","","","","5.706","5.873","5.918","6.074","5.885","5.419","6.016","5.361","5.308","5.826","5.508","5.63","5.424","6.045","5.875","5.8","5.68","5.709","5.697","5.967","5.764","5.69","6.081","5.971","5.891","5.779","5.685"]
["SEER","","","","","","5.263","5.535","5.711","5.727","5.422","5.128","5.459","5.08","4.983","5.357","5.147","5.32","5.032","5.659","5.558","5.444","5.349","5.338","5.362","5.492","5.51","5.34","5.382","5.414","5.408","5.185","5.225"]
["Dimensions","Unit","","","Depth","mm","3640","4720","4720","4720","4720","5800","5800","5800","5800","5800","6880","5800","6880","7960","7960","7960","7960","7960","9040","11200","12280","12280","12280","12280","13360","13360","13360"]
["","","","","Height","mm","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553","2553"]
["","","","","Width","mm","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238","2238"]
["Weight","Operation weight","","","","kg","3427","4045","4050","4487","4576","5237","5161","5242","5247","5166","5835","5176","5840","6916","6926","7404","7409","7601","8191","9356","9945","11107","11520","11535","12130","12140","12150"]
["","Unit","","","","kg","3136","3675","3675","4090","4154","4555","4664","4555","4555","4664","5083","4664","5083","6059","6059","6316","6316","6427","6936","7956","8465","9157","9561","9561","10070","10070","10070"]
["Casing","Colour","","","","","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white","Ivory white"]
["","Material","","","","","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet","Galvanized and painted steel sheet"]
["Water heat exchanger - evaporator","Type","","","","","Brazed plate","Brazed plate","Brazed plate","Brazed plate","Brazed plate","Shell and tube","Brazed plate","Shell and tube","Shell and tube","Brazed plate","Shell and tube","Brazed plate","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube","Shell and tube"]
["","Water volume","","","","l","40","48","48","42.7","58.1","270","58.1","270","270","58.1","255","58.1","255","280","280","481","481","557","557","557","557","1011","1011","1011","1011","1011","1011"]
["","Water pressure drop","","Cooling","Nom.","kPa","16.32","17.65","35.77","45.13","34.78","31.15","40.54","34.86","38.08","48.08","34.48","56.82","40.25","48.32","58.12","44.75","49.03","46.9","55.07","63.94","72.55","48.58","50.83","55.45","61.43","66.11","70.79"]
["Air heat exchanger","Type","","","","","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel","Microchannel"]
["Fan","Quantity","","","","","6","8","8","8","8","10","10","10","10","10","12","10","12","14","14","14","14","14","16","20","22","22","22","22","24","24","24"]
["","Type","","","","","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller","Direct propeller"]
["","Air flow rate","","Cooling","Nom.","l/s","3795","5060","5060","5060","5060","6325","6325","6325","6325","6325","7590","6325","7590","8855","8855","8855","8855","8855","10120","12650","13915","13915","13915","13915","15180","15180","15180"]
["Fan motor","Drive","","","","","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless","Brushless"]
["Compressor","Quantity","","","","","1","1","1","1","1","2","1","2","2","1","2","1","2","2","2","2","2","2","2","2","2","2","2","2","2","2","2"]
["","Type","","","","","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor","Screw compressor"]
["Operation range","Air side","","Cooling","Min.","°CDB","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20","-20"]
["","","","","Max.","°CDB","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46","46"]
["","Water side","","Evaporator","Min.","°CDB","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4","4"]
["","","","","Max.","°CDB","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18","18"]
["Sound power level","Cooling","","","Nom.","dBA","97.8","98.3","100.2","97.7","97.1","99.3","98","99.5","100.7","98.4","100.9","100.7","103","99.2","100.2","99.6","100.2","100.5","101","102.5","104.2","105.3","103.3","104.1","104.9","105.8","106.6"]
["Sound pressure level","Cooling","","","Nom.","dBA","78","78","80","77.4","76.9","78.6","77.3","78.7","79.9","77.7","79.8","80","81.9","77.7","78.7","78","78.7","78.9","79.1","79.9","81.3","82.5","80.5","81.2","81.8","82.7","83.5"]
["Refrigerant","Type","","","","","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A","R-134A"]
["","GWP","","","","","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430","1430"]
["","Charge","","","","kg","40","45","50","60","65","70","75","75","80","80","90","90","95","105","115","135","140","145","160","175","190","205","215","230","250","260","270"]
["","Circuits","","","Quantity","","1","1","1","1","1","2","1","2","2","1","2","1","2","2","2","2","2","2","2","2","2","2","2","2","2","2","2"]
["Piping connections","Evaporator water inlet/outlet (OD)","","","","","88.9","88.9","88.9","139.7","139.7","168.3","139.7","168.3","168.3","139.7","168.3","139.7","168.3","168.3","168.3","219.1","219.1","219.1","219.1","219.1","219.1","273","273","273","273","273","273"]
["Power supply","Phase","","","","","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3","3"]
["","Power supply-=-Frequency","","","Frequency","","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50","50"]
["","Power supply-=-Voltage","","","Voltage","","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400","400"]
["","Voltage range","","Min.","Min.","","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10","-10"]
["","","","Max.","Max.","","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10","10"]
["Unit","Starting current","","Unit-=-Starting current-=-Max","Max","","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0","0"]
["","Running current","Cooling","Unit-=-Running current-=-Cooling-=-Nom.","Nom.","","161","187","215","253","297","311","316","338","370","365","388","423","459","434","505","586","647","680","745","795","875","975","901","1051","1145","1287","1477"]
["","","","Unit-=-Running current-=-Max","Max","","231","272","294","357","372","421","411","450","481","467","523","474","566","610","679","706","761","789","884","948","1187","1156","1124","1227","1351","1475","1608"]
["","Unit-=-Max unit current for wires sizing","","","Max unit current for wires sizing","","254","298","298","392","410","463","452","495","528","480","572","480","572","671","747","776","837","868","935","958","1248","1271","1237","1280","1486","1621","1621"]